Dear Mr Simmons

Thank you for your letter about the interruption to the water supply in Eydon between 25th and 28thMay, following Penny Hitch’s correspondence with you.

As you know, I have met with Stuart Andrew MP to discuss this issue, and we have been responding to questions he has raised on the Parish Council’s behalf.  We’re also currently liaising with Stuart about organising a meeting with him and the Parish Council to discuss your concerns in more detail.

In the meantime, I would like to address the following points.

Late May bank holiday interruption to supply

The interruption to supply in Eydon was caused by high demand on the water network during the Amber Health Heat Alert, which depleted storage levels at the reservoir serving Eydon. We have since adjusted the settings on storage points and pumps to reduce the risk of this happening again.

By way of background, water use across our region was 25% higher than normal on the hottest day over the bank holiday, while dry ground conditions increased the likelihood of pipes bursting. Since then, our teams have been working to optimise network performance, increase water entering supply and strengthen our capacity to respond to higher volumes of bursts and leakage.

Resilience

We appreciate the Parish Council’s concerns regarding network resilience.  As outlined previously, recent investment includes the new main between Culworth and Eydon and the ongoing works in Lower and Upper Boddington.

These schemes are designed to address ageing infrastructure and reduce interruptions to supply as a result of leaks and bursts.  The investment to date has been successful in achieving this, but neither this, or a secondary supply route, would have prevented the incident in May as it was due to depleted storage levels at the reservoir which serves the Eydon area. However, as noted above, we have made changes to storage points and pumps to reduce the likelihood of a recurrence.

As Penny highlighted in her response, we understand the concerns raised about communications and bottled water provision.  I can assure you that we are reviewing these areas and seeking improvements where possible and we would be pleased to discuss them further at the forthcoming meeting, along with any concerns regarding compensation.

Kind regards

Mark Thurston

Mark Thurston
Chief Executive